## Summary
scenario_id | pv_capacity | wind_capacity | bess_power | bess_energy | bess_duration | bess_c_rate | total_load_energy | total_renewable_generation | direct_self_use_energy | bess_discharge_to_load | self_use_energy | grid_import_energy | grid_import_rate | grid_export_energy | export_cap_energy | curtail_energy | curtail_due_to_export_cap_energy | bess_charge_energy | bess_loss_energy | self_use_rate | green_load_rate | export_rate | curtail_rate | annual_equivalent_cycles | replacement_year | max_grid_import_power | max_grid_export_power | final_soc | export_control_mode | pass_policy | fail_reasons
S0004 | 1 | 1 | 0 | 0 | 0 | 0 | 87600 | 7008 | 7008 | 0 | 7008 | 80592 | 0.92 | 0 | 1401.6 | 0 | 0 | 0 | 0 | 1 | 0.08 | 0 | 0 | 0 | inf | 9.2 | 0 | 0 | annual_cap_runtime | FALSE | 绿电占用电比例不足
S0003 | 1 | 0 | 0 | 0 | 0 | 0 | 87600 | 4380 | 4380 | 0 | 4380 | 83220 | 0.95 | 0 | 876 | 0 | 0 | 0 | 0 | 1 | 0.05 | 0 | 0 | 0 | inf | 9.5 | 0 | 0 | annual_cap_runtime | FALSE | 绿电占用电比例不足
S0002 | 0 | 1 | 0 | 0 | 0 | 0 | 87600 | 2628 | 2628 | 0 | 2628 | 84972 | 0.97 | 0 | 525.6 | 0 | 0 | 0 | 0 | 1 | 0.03 | 0 | 0 | 0 | inf | 9.7 | 0 | 0 | annual_cap_runtime | FALSE | 绿电占用电比例不足
S0001 | 0 | 0 | 0 | 0 | 0 | 0 | 87600 | 0 | 0 | 0 | 0 | 87600 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | inf | 10 | 0 | 0 | annual_cap_runtime | FALSE | 自发自用率不足; 绿电占用电比例不足

## Policy_Passed
scenario_id | pv_capacity | wind_capacity | bess_power | bess_energy | bess_duration | bess_c_rate | total_load_energy | total_renewable_generation | direct_self_use_energy | bess_discharge_to_load | self_use_energy | grid_import_energy | grid_import_rate | grid_export_energy | export_cap_energy | curtail_energy | curtail_due_to_export_cap_energy | bess_charge_energy | bess_loss_energy | self_use_rate | green_load_rate | export_rate | curtail_rate | annual_equivalent_cycles | replacement_year | max_grid_import_power | max_grid_export_power | final_soc | export_control_mode | pass_policy | fail_reasons

## Policy_Failed
scenario_id | pv_capacity | wind_capacity | bess_power | bess_energy | bess_duration | bess_c_rate | total_load_energy | total_renewable_generation | direct_self_use_energy | bess_discharge_to_load | self_use_energy | grid_import_energy | grid_import_rate | grid_export_energy | export_cap_energy | curtail_energy | curtail_due_to_export_cap_energy | bess_charge_energy | bess_loss_energy | self_use_rate | green_load_rate | export_rate | curtail_rate | annual_equivalent_cycles | replacement_year | max_grid_import_power | max_grid_export_power | final_soc | export_control_mode | pass_policy | fail_reasons
S0004 | 1 | 1 | 0 | 0 | 0 | 0 | 87600 | 7008 | 7008 | 0 | 7008 | 80592 | 0.92 | 0 | 1401.6 | 0 | 0 | 0 | 0 | 1 | 0.08 | 0 | 0 | 0 | inf | 9.2 | 0 | 0 | annual_cap_runtime | FALSE | 绿电占用电比例不足
S0003 | 1 | 0 | 0 | 0 | 0 | 0 | 87600 | 4380 | 4380 | 0 | 4380 | 83220 | 0.95 | 0 | 876 | 0 | 0 | 0 | 0 | 1 | 0.05 | 0 | 0 | 0 | inf | 9.5 | 0 | 0 | annual_cap_runtime | FALSE | 绿电占用电比例不足
S0002 | 0 | 1 | 0 | 0 | 0 | 0 | 87600 | 2628 | 2628 | 0 | 2628 | 84972 | 0.97 | 0 | 525.6 | 0 | 0 | 0 | 0 | 1 | 0.03 | 0 | 0 | 0 | inf | 9.7 | 0 | 0 | annual_cap_runtime | FALSE | 绿电占用电比例不足
S0001 | 0 | 0 | 0 | 0 | 0 | 0 | 87600 | 0 | 0 | 0 | 0 | 87600 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | inf | 10 | 0 | 0 | annual_cap_runtime | FALSE | 自发自用率不足; 绿电占用电比例不足

## Top_By_Green_Load_Rate
scenario_id | pv_capacity | wind_capacity | bess_power | bess_energy | bess_duration | bess_c_rate | total_load_energy | total_renewable_generation | direct_self_use_energy | bess_discharge_to_load | self_use_energy | grid_import_energy | grid_import_rate | grid_export_energy | export_cap_energy | curtail_energy | curtail_due_to_export_cap_energy | bess_charge_energy | bess_loss_energy | self_use_rate | green_load_rate | export_rate | curtail_rate | annual_equivalent_cycles | replacement_year | max_grid_import_power | max_grid_export_power | final_soc | export_control_mode | pass_policy | fail_reasons
S0004 | 1 | 1 | 0 | 0 | 0 | 0 | 87600 | 7008 | 7008 | 0 | 7008 | 80592 | 0.92 | 0 | 1401.6 | 0 | 0 | 0 | 0 | 1 | 0.08 | 0 | 0 | 0 | inf | 9.2 | 0 | 0 | annual_cap_runtime | FALSE | 绿电占用电比例不足
S0003 | 1 | 0 | 0 | 0 | 0 | 0 | 87600 | 4380 | 4380 | 0 | 4380 | 83220 | 0.95 | 0 | 876 | 0 | 0 | 0 | 0 | 1 | 0.05 | 0 | 0 | 0 | inf | 9.5 | 0 | 0 | annual_cap_runtime | FALSE | 绿电占用电比例不足
S0002 | 0 | 1 | 0 | 0 | 0 | 0 | 87600 | 2628 | 2628 | 0 | 2628 | 84972 | 0.97 | 0 | 525.6 | 0 | 0 | 0 | 0 | 1 | 0.03 | 0 | 0 | 0 | inf | 9.7 | 0 | 0 | annual_cap_runtime | FALSE | 绿电占用电比例不足
S0001 | 0 | 0 | 0 | 0 | 0 | 0 | 87600 | 0 | 0 | 0 | 0 | 87600 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | inf | 10 | 0 | 0 | annual_cap_runtime | FALSE | 自发自用率不足; 绿电占用电比例不足

## Top_By_Low_Curtail_Rate
scenario_id | pv_capacity | wind_capacity | bess_power | bess_energy | bess_duration | bess_c_rate | total_load_energy | total_renewable_generation | direct_self_use_energy | bess_discharge_to_load | self_use_energy | grid_import_energy | grid_import_rate | grid_export_energy | export_cap_energy | curtail_energy | curtail_due_to_export_cap_energy | bess_charge_energy | bess_loss_energy | self_use_rate | green_load_rate | export_rate | curtail_rate | annual_equivalent_cycles | replacement_year | max_grid_import_power | max_grid_export_power | final_soc | export_control_mode | pass_policy | fail_reasons
S0004 | 1 | 1 | 0 | 0 | 0 | 0 | 87600 | 7008 | 7008 | 0 | 7008 | 80592 | 0.92 | 0 | 1401.6 | 0 | 0 | 0 | 0 | 1 | 0.08 | 0 | 0 | 0 | inf | 9.2 | 0 | 0 | annual_cap_runtime | FALSE | 绿电占用电比例不足
S0003 | 1 | 0 | 0 | 0 | 0 | 0 | 87600 | 4380 | 4380 | 0 | 4380 | 83220 | 0.95 | 0 | 876 | 0 | 0 | 0 | 0 | 1 | 0.05 | 0 | 0 | 0 | inf | 9.5 | 0 | 0 | annual_cap_runtime | FALSE | 绿电占用电比例不足
S0002 | 0 | 1 | 0 | 0 | 0 | 0 | 87600 | 2628 | 2628 | 0 | 2628 | 84972 | 0.97 | 0 | 525.6 | 0 | 0 | 0 | 0 | 1 | 0.03 | 0 | 0 | 0 | inf | 9.7 | 0 | 0 | annual_cap_runtime | FALSE | 绿电占用电比例不足
S0001 | 0 | 0 | 0 | 0 | 0 | 0 | 87600 | 0 | 0 | 0 | 0 | 87600 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | inf | 10 | 0 | 0 | annual_cap_runtime | FALSE | 自发自用率不足; 绿电占用电比例不足

## Config
key | value
check | download_payload

## Warnings
warning